## AlarmCreationRule
templateName | raisedOrCleared | isEventTypePartsSpecified | eventType | deviceType | deviceDomain | deviceSubDomain | deviceEventOrAction | deviceCode | deviceGroups | deviceTypes | deviceStates | logOnExistingOpenAlarms | increaseUrgencyWhenRaised | decreaseUrgencyWhenCleared | numberofEvents | eventsPerTime | urgency | impact | dueInDays | dueInPeriod | alarmReason | comment
Device alarm template | raised, cleared | yes, no | NA, 2.7.3.12 | Collector, NA | Billing, NA | Activation, NA | Activated, NA | NA, NA | Electricity devices, Beacon devices, North region | Iskra 382, WebRTU Z2, Elster AS1440 | Active, In stock | yes | yes | no | 40 | Yesterday | 30 | 10 | 4 | week(s) | hardware error | new comment

## EditValidationTask
Loglevel | Devicegroup
Information | Gas devices

## ActionsOnAlarmCreationRule
editname | templateName | raisedOrCleared | isEventTypePartsSpecified | eventType | deviceType | deviceDomain | deviceSubDomain | deviceEventOrAction | deviceCode | removeEventTypes | deviceGroups | deviceTypes | deviceStates | logOnExistingOpenAlarms | increaseUrgencyWhenRaised | decreaseUrgencyWhenCleared | numberofEvents | eventsPerTime | urgency | impact | dueInDays | dueInPeriod | alarmReason | comment
Edit Test Sample2 | Device alarm template | raised, cleared | no, yes | 2.7.3.12, NA | NA, Collector | NA, Billing | NA, Activation | NA, Activated | NA, NA | 2.7.3.12 | North region, Gas devices, Water devices | Elster AS1440, Siemens 7ED, Beacon 3100 | Active, Commissioning | NA | NA | NA | 20 | This week | 20 | 5 | NA | day(s) | NA | edited comment

## DataEstimationTask
Loglevel | Devicegroup | Update Log Level
Error | Beacon devices | Warning

## DataValidationTask
Loglevel | Devicegroup | UpdateLoglevel
Error | Gas devices | Information

## DataExchange
strfilePath | ExportTask | ExportStatus | ImportStatus | ImportService | logLevel | dataselector | devicegroup | exportwindow | dataformatter | identifier | updateidentifier | seperator | method | Tobox | subjectbox | atname | atextension | importserviceupload
Data | Device data exporter - South region | Ongoing | Decommissioning | Partial success | Information | Device readings data selector [STD] | Gas devices | Last 7 days (gas) | CSV formatter [STD] | new | update | Semicolon (;) | Mail | Shef | hello | shef | shef | Installation

## AddValidationRuleSet
Description | UpdateDescription | VersionDescription | UpdateVersionDescription | CloneUpdateVersionDescription
20.30.4.2.4 | 20.30.4.3.2 | 34.7.8.3.2 | 35.8.0.1.2 | 32.8.8.9.3

## AddEstimationRuleSet
Description | UpdateDescription | Estimationrule | Estimator | EstimationComment | ReadingType
20.30.4.2.4 | 20.30.4.2.3 | Detector | Average with samples [STD] | Estimated by market rule 18 | [15-minutes] Bulk Gas volume (L)

## ZoneManagmenet
ZoneType | UpdatedZoneName
ZoneTypetest | ZoneTestAutomation

## AddDeviceLifecycle
triggered | from | to
Creation of a connection method on a device | Decommissioned | In stock

## AddDeviceType
Type | Communicationprotocol | DeviceLifecyle | Name | Description
Standard device type | ACUD Gas | Standard device life cycle | ACUD Gas | Details mentioned

## AdddatacollectionKPI2
Devicegroup | Calculationfrequency | Displayrange | ConnectionKPI | CommunicationKPI
Gas devices | 1 hour | 1 week | 95 | 95

## AdddatacollectionKPI
Devicegroup | Calculationfrequency | Displayrange | ConnectionKPI | CommunicationKPI
Gas devices | 1 hour | 1 week | 95 | 95

## AddLoadProfileType
OBISCode
1.0.99.2.0.255

## AddLogBookType
OBISCode | UpdateName
1.0.99.2.0.255 | UpdateDevice

## AddRegisterType
obiscode | readingtype | Updateobiscode
1.0.99.2.0.255 | Bulk Billing water volume (L) | 7.0.3.1.1.252

## AddRegistergroup
UpdateName
Automatedriversample

## AddIssueCreation
IssueType | RuleTemplate | DeviceType | devicestate | Threshhold | Event | IssueReason | Action | To | UpdateName
Data collection | Events from meters of concentrator | Elster AS1440 | Inactive (Standard device life cycle) | 2 | Device communication failure | Time sync failed | Email | smruti | DeviceData

## TaskManagement
Type | Loglevel | Devicegroup | Tasksperpage
Data validation | Information | Electricity devices | 200

## MobileCommunicationServer
PollDelay | OnlineComServer
50 | Deitvs099

## CommunicationPortPools
Type | TaskExecutionTimeout
UDP | minute(s)

## CommunicationProtocol
ProtocolName | Devicetimezone
ABB/GE PPM Issue1 OPUS | Europe/Vienna

## SecurityAccessor
Description | KeyType | KeyPurpose | UpdatedKeyPurpose
23.6.4.2.4 | AuthenticationKey | Pre-shared key | Authentication key